## Sheet1
Load Names | Transformer Name | Phases | Bus1 | kV | kVA | PF | Model | Daily | Vminpu | Vmaxpu | Feeder | Index
library_tx1_l | library_tx1 | 3 | library_sub_tx2_lv | 0.38 | 1000 1000 | -0.95 | 1 | library_tx1_ls | 0.8 | 1.2 | 1 | 1
library_tx2_l | library_tx2 | 3 | library_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | library_tx2_ls | 0.8 | 1.2 | 1 | 2
agri_science_tx1_l | agri_science_tx1 | 3 | agri_science_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | agri_science_tx1_ls | 0.8 | 1.2 | 1 | 3
sllsc_tx1_l | sllsc_tx1 | 3 | sllsc_sub_tx1_lv | 0.38 | 1250 1250 | -0.95 | 1 | sllsc_tx1_ls | 0.8 | 1.2 | 1 | 4
sports_centre_tx1_l | sports_centre_tx1 | 3 | sports_centre_sub_tx1_lv | 0.38 | 400 400 | -0.95 | 1 | sports_centre_tx1_ls | 0.8 | 1.2 | 1 | 5
boiler_house_txchp_l | boiler_house_txchp | 3 | boiler_house_sub_txchp_lv | 0.38 | 2500 2500 | -0.95 | 1 | boiler_house_txchp_ls | 0.8 | 1.2 | 1 | 6
boiler_house_tx1_l | boiler_house_tx1 | 3 | boiler_house_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | boiler_house_tx1_ls | 0.8 | 1.2 | 1 | 7
rosemount_tx1_l | rosemount_tx1 | 3 | rosemount_unit_sub_tx1_lv | 0.38 | 400 400 | -0.95 | 1 | rosemount_tx1_ls | 0.8 | 1.2 | 1 | 8
creche_tx1_l | creche_tx1 | 3 | creche_sub_tx1_lv | 0.38 | 400 400 | -0.95 | 1 | creche_tx1_ls | 0.8 | 1.2 | 1 | 9
science_tx1_l | science_tx1 | 3 | science_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | science_tx1_ls | 0.8 | 1.2 | 1 | 10
science_tx2_l | science_tx2 | 3 | science_sub_tx2_lv | 0.38 | 1000 1000 | -0.95 | 1 | science_tx2_ls | 0.8 | 1.2 | 1 | 11
student_centre_tx1_l | student_centre_tx1 | 3 | student_centre_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | student_centre_tx1_ls | 0.8 | 1.2 | 1 | 12
campus_east_tx1_l | campus_east_tx1 | 3 | campus_east_sub_tx1_lv | 0.38 | 400 400 | -0.95 | 1 | campus_east_tx1_ls | 0.8 | 1.2 | 2 | 13
data_centre_tx1_l | data_centre_tx1 | 3 | data_centre_sub_tx1_lv | 0.38 | 1600 1600 | -0.95 | 1 | data_centre_tx1_ls | 0.8 | 1.2 | 2 | 14
engineering_tx1_l | engineering_tx1 | 3 | engineering_sub_tx1_lv | 0.38 | 1600 1600 | -0.95 | 1 | engineering_tx1_ls | 0.8 | 1.2 | 2 | 15
ardmore_tx1_l | ardmore_tx1 | 3 | ardmore_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | ardmore_tx1_ls | 0.8 | 1.2 | 2 | 16
quinn_tx1_l | quinn_tx1 | 3 | quinn_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | quinn_tx1_ls | 0.8 | 1.2 | 3 | 17
roebuck_castle_tx1_l | roebuck_castle_tx1 | 3 | roebuck_castle_sub_tx1_lv | 0.38 | 200 200 | -0.95 | 1 | roebuck_castle_tx1_ls | 0.8 | 1.2 | 3 | 18
arts_tx1_l | arts_tx1 | 3 | arts_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | arts_tx1_ls | 0.8 | 1.2 | 3 | 19
arts_tx2_l | arts_tx2 | 3 | arts_sub_tx2_lv | 0.38 | 630 630 | -0.95 | 1 | arts_tx2_ls | 0.8 | 1.2 | 3 | 20
arts_tx3_l | arts_tx3 | 3 | arts_sub_tx3_lv | 0.38 | 630 630 | -0.95 | 1 | arts_tx3_ls | 0.8 | 1.2 | 3 | 21
vet_college_tx1_l | vet_college_tx1 | 3 | vet_college_sub_tx1_lv | 0.38 | 1600 1600 | -0.95 | 1 | vet_college_tx1_ls | 0.8 | 1.2 | 4 | 22
vet_college_tx2_l | vet_college_tx2 | 3 | vet_college_sub_tx2_lv | 0.38 | 1600 1600 | -0.95 | 1 | vet_college_tx2_ls | 0.8 | 1.2 | 4 | 23
woodview_tx1_l | woodview_tx1 | 3 | woodview_sub_tx1_lv | 0.38 | 400 400 | -0.95 | 1 | woodview_tx1_ls | 0.8 | 1.2 | 4 | 24
charles_institute_tx1_l | charles_institute_tx1 | 3 | charles_institute_sub_tx1_lv | 0.38 | 2500 2500 | -0.95 | 1 | charles_institute_tx1_ls | 0.8 | 1.2 | 4 | 25
health_sciences_tx1_l | health_sciences_tx1 | 3 | health_sciences_sub_tx1_lv | 0.38 | 1600 1600 | -0.95 | 1 | health_sciences_tx1_ls | 0.8 | 1.2 | 4 | 26
health_sciences_tx2_l | health_sciences_tx2 | 3 | health_sciences_sub_tx2_lv | 0.38 | 1600 1600 | -0.95 | 1 | health_sciences_tx2_ls | 0.8 | 1.2 | 4 | 27
science_east_tx1_l | science_east_tx1 | 3 | science_east_sub_tx1_lv | 0.38 | 1600 1600 | -0.95 | 1 | science_east_tx1_ls | 0.8 | 1.2 | 4 | 28
science_hub_tx1_l | science_hub_tx1 | 3 | science_hub_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | science_hub_tx1_ls | 0.8 | 1.2 | 4 | 29
lodge_tx1_l | lodge_tx1 | 3 | lodge_unit_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | lodge_tx1_ls | 0.8 | 1.2 | 4 | 30
thornfield_tx1_l | thornfield_tx1 | 3 | thornfield_sub_tx1_lv | 0.38 | 630 630 | -0.95 | 1 | thornfield_tx1_ls | 0.8 | 1.2 | 4 | 31
richview_tx1_l | richview_tx1 | 3 | richview_sub_tx1_lv | 0.38 | 200 200 | -0.95 | 1 | richview_tx1_ls | 0.8 | 1.2 | 4 | 32
civil_engineering_tx1_l | civil_engineering_tx1 | 3 | civil_engineering_sub_tx1_lv | 0.38 | 1000 1000 | -0.95 | 1 | civil_engineering_tx1_ls | 0.8 | 1.2 | 4 | 33